## Slide 1
  Electrical Fault Generation and Classification in the
  Northern Region of Bangladesh
Prepared By
Samia Akter 1906151
Md. Aktarujjaman Swan 1906152
Md. Asif Kabir 1906153
Tamim Hasan Bhuyian 1906154
Md. Shipon Hossain 1906155
Shourov Joarder 1906156

## Slide 2
  Initial Planning

## Slide 3
  Types of Faults in Transmission Line
Common reasons for fault occurrence
LLL - Line-Line-Line fault
Three-Phase fault where all three lines are faulted
LG - Line-to-Ground fault
Fault where one line comes into contact with the ground
LL - Line-to-Line fault
Fault where two lines come into contact with each other
LLG - Line-to-Line-to-Ground fault
Fault where two lines come into contact with each other and also with the ground
Types of electrical faults
  Lightning
  Wind
  Manufacturing defects

## Slide 4
Traditional methods
Overcurrent relays
Differential relays
Distance relays
  Fault Detection and Classification Techniques
Advanced methods
Machine learning
Deep learning

## Slide 5
Fault Analysis in the Northern Region of Bangladesh.
Focus on the north region of Bangladesh for fault analysis.
Total 35 buses in the region
  Study Area
  The Northern Region of Bangladesh
  35
  buses
30
generators
94
transformers
Transmission
line
MATLAB Simulink model development with

## Slide 6
  Simulink Model of The Study Area

## Slide 7
  IEEE 14 Bus
  14
  buses
5
generators
2
transformers
Transmission
line
MATLAB Simulink model development with
Illinois Center for a Smarter Electric Grid (ICSEG)
Courtesy:

## Slide 8
  14 Bus Simulink Model

## Slide 9
  Data and Fault Classification Method
Total Data Generated : 76
Each Sample : 6 time series data with 100 samples
Time Series Data

## Slide 10
  Machine Learning Method
  Decision tree Classifier
  Results & Conclusion
Accuracy of the Training dataset is : 100.0 %
Accuracy of the validation dataset is : 88.239033%

## Slide 11
  Deep Learning Method
Feature Extraction
GAF
Transformation
Gramian Angular Field (GAF) Transformation
<

## Slide 12
2 Conv
Max Pool
2 Conv
Max Pool
3 Conv
Max Pool
2 Conv
64x64x3
64x64x32
32x32x32
32x32x64
16x16x64
16x16x128
8x8x128
  CNN Architecture

## Slide 13
CNN Model
CNN Model
CNN Model
CNN Model
CNN Model
CNN Model
  Model Architecture

## Slide 14
  Results & Conclusion
Validation loss is 2.087895393371582
Accuracy of the validation data is 18.75%

## Slide 15
  Future Prospect
Computational Power
Research Paper
Benefit PGCB for Faster Fault Classification

## Slide 16
  References
Mother Paper : https://www.sciencedirect.com/science/article/pii/S037877962030242X
Initial Resource : https://www.kaggle.com/datasets/esathyaprakash/electrical-fault-detection-and-classification

## Slide 17
THANK YOU